## system_type
Text | Description | end_type | ruby_code
PWDB | Potable Water Distribution | water | 'PWDB' => 'water', #Potable Water Distribution
PWSC | Potable Water Service Connection | water | 'PWSC' => 'water', #Potable Water Service Connection
PWST | Potable Water Storage | water | 'PWST' => 'water', #Potable Water Storage
PWTM | Potable Water Transmission | water | 'PWTM' => 'water', #Potable Water Transmission
PWTP | Potable Water Treatment | water | 'PWTP' => 'water', #Potable Water Treatment
RWST | Raw Water Storage | water | 'RWST' => 'water', #Raw Water Storage
RWTN | Raw Water Transfer | water | 'RWTN' => 'water', #Raw Water Transfer
SWCO | Stormwater Collection | storm | 'SWCO' => 'storm', #Stormwater Collection
SWSC | Stormwater Service Connection | storm | 'SWSC' => 'storm', #Stormwater Service Connection
SWTD | Stormwater Treatment Device | storm | 'SWTD' => 'storm', #Stormwater Treatment Device
WWCO | Wastewater Collection | foul | 'WWCO' => 'foul', #Wastewater Collection
WWSC | Wasterwater Service Connection | foul | 'WWSC' => 'foul', #Wasterwater Service Connection
WWST | Wastewater Storage | foul | 'WWST' => 'foul', #Wastewater Storage
WWTP | Wastewater Treatment | foul | 'WWTP' => 'foul', #Wastewater Treatment

## pipe_shape
pipe_shape
{{ARCH} | {Arch shaped pipe}
{CIRC} | {Circular pipe}
{EGG} | {Egg shaped pipe (Circles touching )}
{EGG2} | {Egg shaped pipe (Circles not touching)}
{OVAL} | {Oval pipe}
{RECT} | {Rectangular pipe}
{UTOP} | {U-shaped pipe}
{TBD} | {To Be Defined}}

## node_type
Text | Description | end_type | ruby_code
ACBH | Bore Hole (Well / Wellhead ) | storage | 'ACBH' => 'storage', #Bore Hole (Well / Wellhead )
ACCL | Chlorination Point | break | 'ACCL' => 'break', #Chlorination Point
ACDP | Cable Draw Point | break | 'ACDP' => 'break', #Cable Draw Point
ACDW | Dry Well | storage | 'ACDW' => 'storage', #Dry Well
ACFM | Flowmeter Chamber | manhole | 'ACFM' => 'manhole', #Flowmeter Chamber
ACMH | Access Chamber Manhole | manhole | 'ACMH' => 'manhole', #Access Chamber Manhole
ACPU | Pump Chamber | storage | 'ACPU' => 'storage', #Pump Chamber
ACSY | Syphon Chamber | break | 'ACSY' => 'break', #Syphon Chamber
ACVP | Vent Point | break | 'ACVP' => 'break', #Vent Point
ACVU | Vacuum Chamber / Pit | manhole | 'ACVU' => 'manhole', #Vacuum Chamber / Pit
ACVX | Vortex Chamber | manhole | 'ACVX' => 'manhole', #Vortex Chamber
ACWW | Wet Well | storage | 'ACWW' => 'storage', #Wet Well
BEND | Bend | break | 'BEND' => 'break', #Bend
END | End | manhole | 'END' => 'manhole', #End
HHLD | Household | break | 'HHLD' => 'break', #Household
INGD | Inlet Grated Open End | gully | 'INGD' => 'gully', #Inlet Grated Open End
INND | Inlet Open End | gully | 'INND' => 'gully', #Inlet Open End
JOIN | Join | break | 'JOIN' => 'break', #Join
LHCE | Lamphole Cleaning Eye | break | 'LHCE' => 'break', #Lamphole Cleaning Eye
METR | Meter | break | 'METR' => 'break', #Meter
OTGD | Outlet Grated Open End | gully | 'OTGD' => 'gully', #Outlet Grated Open End
OTND | Outlet Open End | gully | 'OTND' => 'gully', #Outlet Open End
PSTN | Pump Station | storage | 'PSTN' => 'storage', #Pump Station
RGDN | Rain Garden | storage | 'RGDN' => 'storage', #Rain Garden
SMP1 | Sump Single Side Entry | gully | 'SMP1' => 'gully', #Sump Single Side Entry
SMP2 | Sump Double Side Entry | gully | 'SMP2' => 'gully', #Sump Double Side Entry
SMPD | Sump Dome | gully | 'SMPD' => 'gully', #Sump Dome
TEE | Tee | break | 'TEE' => 'break', #Tee
VALV | Valve | break | 'VALV' => 'break', #Valve

## status
Text | Description
INUS | In Use
AOOS | Active - Out of Service
STBY | Active - Standby
STOK | Active - Stock
REMO | Removed
ABAN | Abandoned
SPAR | Decommissioned / Spare
VIRT | Virtual connection
REPU | Active - Repurposed (Duct)
EROR | Error during Data Entry